|  |  |  |  | CAN/ULC-S561-13 APPENDIX C (INFORMATIVE) – TEST AND INSPECTION REPORTS TABLE C1 – ALARM SIGNAL TRANSMITTER ANNUAL TEST AND INSPECTION REPORT (Reference: Clause 9.6.1 and 11.1.3.) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |
|  | Building Name & Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | MONITORING SYSTEM DESCRIPTION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Sprinkler System – Alarm and Supervisory Devices: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Fire Alarm System – Manufacturer & Model No.: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Other Equipment – Type/Manufacturer & Model No.: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Alarm Signal Transmitter Manufacturer & Model No.: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Equipment Listing Number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Name and Location of Fire Signal Receiving Centre: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Fire Signal Receiving Centre ULC Identifier: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Fire Signal Receiving Centre Telephone Number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | The Fire Monitoring System is now fully functional without deficiencies. (If “No”, see “Comments below) |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes No |  |  |
| 2 | ULC “Central Station Fire Protective Signalling Service” Certificate Number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | which is issued for the above noted central monitoring station address is is not attached. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | A copy of this report will be given to: |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes No |  |  |
|  | who is the owner or owner’s representative for this building. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CERTIFICATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| This certifies that the information contained in this Inspection Report (which incorporates the attached |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | pages) is correct |  |
| and complete. The system and equipment described here-in was tested/inspected in conformance with CAN/ULC-S561-13 by a qualified technician. The equipment was left in an operational condition except as noted above. A copy of this report must be maintained on the premises for examination by the Fire Marshal, Building Inspector, or other Authority Having Jurisdiction at their request. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Inspected By: |  |  |  | Contact Information: |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Service Company |  |  |  | Insert Contact/Address Information Here |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Technician |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Certificate Number: |  |  |  |  |  |  |  |  |  |  |  |

C2 – TRANSMITTING UNIT TEST RECORD

| Date: |  | Audit Inspection |  |
| --- | --- | --- | --- |
| Building Name: |  | Address: |  |

“” = Yes - Tested correctly    “X” = No - Did not test correctly (NO answers are detailed in “Comments/Remarks”)     “NA” = Not applicable

|  | C2 Transmitting Unit Test |  |  |  |  |  |  |  |  | C2 Power Supply Inspection |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Location: |  |  |  |  |  |  |  |  | Fused in accordance with manufacturer’s specifications? |  |  |  |  |  |
|  | Power on visual indicator tested. |  |  |  |  |  |  |  |  | Adequate to meet the requirements of the system? |  |  |  |  |  |
|  | Common visual trouble signal tested. |  |  |  |  |  |  |  |  | C2 Emergency Power Supply Test & Inspection |  |  |  |  |  |
|  | Common audible trouble signal operates. |  |  |  |  |  |  |  |  | Location: |  |  |  |  |  |
|  | Main Power supply failure trouble signal operates. |  |  |  |  |  |  |  |  | Panel Number: |  |  |  |  |  |
|  | Alarm signal operation. |  |  |  |  |  |  |  |  | Breaker/Disconnect Number: |  |  |  |  |  |
|  | Input circuit trouble operates. |  |  |  |  |  |  |  |  | Battery type and size (in AH): |  |  |  |  |  |
|  | Main power supply to emergency power supply operates. |  |  |  |  |  |  |  |  | Battery Voltages |  |  |  |  |  |
|  | C2 Transmitting Unit Inspection |  |  |  |  |  |  |  |  | AC power on: |  |  |  |  | DC Volts |
|  | Input circuit designations correctly identified in relation to |  |  |  |  |  |  |  |  | AC power off: |  |  |  |  | DC Volts |
|  | connected field devices? |  |  |  |  |  |  |  |  | AC power off (full alarm): |  |  |  |  | DC Volts |
|  | Plug-in components and modules properly secured and |  |  |  |  |  |  |  |  | Battery Currents (Amperage) |  |  |  |  |  |
|  | terminated? |  |  |  |  |  |  |  |  | AC power on: |  |  |  |  | DC mA |
|  | Designations for common control functions & indicators? |  |  |  |  |  |  |  |  | AC power off: |  |  |  |  | DC mA |
|  | Plug-in cables securely in place? |  |  |  |  |  |  |  |  | AC power off (full alarm): |  |  |  |  | #### DC A |
|  | Fused in accordance with manufacturer’s specifications? |  |  |  |  |  |  |  |  | Correctly sized to provide 24 hours stand-by & 30 or 120 |  |  |  |  |  |
|  | Clean and free of dust and dirt? |  |  |  |  |  |  |  |  | minutes alarm operation in accordance with BC Fire Code? |  |  |  |  |  |
|  | Input circuit alarm and supervisory operation including audible |  |  |  |  |  |  |  |  | Inspected for physical damage? |  |  |  |  |  |
|  | and visual indicator? |  |  |  |  |  |  |  |  | Terminals clean and tight? |  |  |  |  |  |
|  | Control unit lock? |  |  |  |  |  |  |  |  | Batteries fused? YES NO |  |  |  |  |  |
|  | Termination points from wiring to field devices secure? |  |  |  |  |  |  |  |  | Adequately ventilated? |  |  |  |  |  |
|  | Power & field wiring properly terminated to panel ground lug? |  |  |  |  |  |  |  |  | Installation date: |  |  |  |  |  |
|  | ##### Panel adequately grounded? |  |  |  |  |  |  |  |  | Disconnection causes trouble signal? |  |  |  |  |  |
|  | Dead-front panel(s) in place & as per manufacturer’s spec? |  |  |  |  |  |  |  |  | Battery is within the Manufacturer’s rated life date code? |  |  |  |  |  |
|  | Record date, revision and version of Firmware & Software |  |  |  |  |  |  |  |  | Trouble condition at the emergency generator is indicated? |  |  |  |  |  |
|  | Date: |  |  | Rev: |  | Version: |  |  |  |  |  |  |  |  |  |

- C3 - Device Testing – Legend, Notes, and Comments

| Device | Description | Type | Model No. |
| --- | --- | --- | --- |
| FS | Sprinkler flow switch (1) |  |  |
| FPS | Sprinkler flow pressure switch |  |  |
| TS | Sprinkler valve supervisory tamper switch (2) |  |  |
| LA | Low air supervisory device (3) |  |  |
| LT | Low temperature supervisory device (4) |  |  |
| LPS | Power loss supervisory device |  |  |
| AD | Other ancillary device (5) |  |  |
| FA | Fire alarm control panel |  |  |

- Note 1:	Time delay setting of water flow devices shall be recorded in the remarks column.

- Note 2:	Sprinkler supervisory switches cause a supervisory condition to be annunciated but not an alarm.

- Note 3:	Upper and lower pressure setting of supervisory devices should be recorded in the remarks column.

- Note 4: 	Low temperature setting should be recorded in the remarks column.

- Note 5:	Identify Ancillary Device in the remarks column.

- C4 - Individual Equipment or Device Record

| Date: |  | Audit Inspection |  |
| --- | --- | --- | --- |
| Building Name: |  | Address: |  |

| Column Legend |  |  |  |
| --- | --- | --- | --- |
| A B C | Correctly installed Unit requires service, repair, missing Alarm operation confirmed | D E F | Annunciator indication confirmed Circuit number or address Supervision and ground fault detection |

“T “  Yes - Acceptable    “X”  No – Unacceptable (Explain NO answers in comments)    “Dash” - Not applicable

| Location | Device | A | B | C | D | E | F | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Remarks/Comments